BILCO Type LadderUP® Safety Posts provide easier, safer ladder access through roof hatches, floor access doors, and manholes. This telescoping post permanently mounts to the top two rungs of any fixed ladder, providing a positive hand-hold and enabling the user to enter or exit an opening in an upright and balanced position. For more information, please visit our website www.bilco.com or call 1-800-366-6530.

SECTION 077233

ROOF HATCHES

(BILCO TYPE LU)

- GENERAL

      - SUMMARY

        - Work Included:  Provide factory-fabricated ladder safety posts.

      - SUBMITTALS

        - Product Data:  Submit manufacturer’s product data.

        - Shop Drawings: Submit shop drawings including profiles, accessories, location, adjacent construction interface, and dimensions.

        - Warranty:  Submit executed copy of manufacturer’s standard warranty.

      - QUALITY ASSURANCE

        - Manufacturer:  A minimum of 5 years experience manufacturing similar products.

        - Installer:  A minimum of 2 years experience installing similar products.

        - Manufacturer’s Quality System: Registered to ISO 9001 Quality Standards including in-house engineering for product design activities.

      - DELIVERY, STORAGE AND HANDLING

        - Deliver products in manufacturer’s original packaging.  Store materials in a dry, protected, well-vented area. Inspect product upon receipt and report damaged material immediately to delivering carrier and note such damage on the carrier’s freight bill of lading.

      - WARRANTY

        - Manufacturer’s Warranty:  Provide manufacturer’s standard warranty.  Materials shall be free of defects in material and workmanship for a period of five years from the date of purchase. Should a part fail to function in normal use within this period, manufacturer shall furnish a new part at no charge.

- PRODUCTS

      - MANUFACTURER

        - Basis-of-Design Manufacturer:  Type LU Ladder Safety Post by The BILCO Company, P.O. Box 1203, New Haven, CT 06505, 1-800-366-6530, Fax: 1-203-535-1582, Web: www.bilco.com.  Comply with the following:

      - LADDER SAFETY POST

        - Furnish and install where indicated on plans ladder safety post Model [insert LU-1, LU-2, LU-3, or LU-4].  The ladder safety post shall be pre-assembled from the manufacturer.

        - Performance characteristics:

          - Tubular post shall lock automatically when fully extended.

          - Safety post shall have controlled upward and downward movement.

          - Release lever shall disengage the post to allow it to be returned to its lowered position.

          - Post shall have adjustable mounting brackets to fit ladder rung spacing up to 14” (356mm) on center and clamp brackets to accommodate ladder rungs up to 1-3/4” (44mm) in diameter.

        - Post: Shall be manufactured of high strength square tubing. A pull up loop shall be provided at the upper end of the post to facilitate raising the post.

        - Material of construction: Shall be [insert: steel (Model LU-1, LU-2); or Type 304 stainless steel (Model LU-3); or aluminum (Model LU-4)].

        - Balancing spring: A stainless steel spring balancing mechanism shall be provided to provide smooth, easy, controlled operation when raising and lowering the safety post. [For installation in highly corrosive atmospheres, Model LU-3 incorporates a special alloy spring mechanism].

        - Hardware: All mounting hardware shall be Type 316 stainless steel.

        - Finishes: Factory finish shall be [insert: yellow powder coat steel (Model LU-1); or hot dip galvanized steel (Model LU-2); or mill finish stainless steel (Model LU-3); or mill finish aluminum (LU-4)].

- EXECUTION

      - EXAMINATION

        - Examine substrates and openings for compliance with requirements for installation tolerances and other conditions affecting performance.  Proceed with installation only after unsatisfactory conditions have been corrected.

      - INSTALLATION

        - Install products in strict accordance with manufacturer’s instructions and approved submittals.  Locate units level, plumb, and in proper alignment with adjacent work.

          - Test units for proper function and adjust until proper operation is achieved.

          - Repair finishes damaged during installation.

          - Restore finishes so no evidence remains of corrective work.

      - ADJUSTING AND CLEANING

        - Clean exposed surfaces using methods acceptable to the manufacturer which will not damage finish.

END OF SECTION